AC-DC Power Rectification: Master Engineering Hub

Welcome to the VVDN Engineering Hub AC-DC Rectification Master Guide. AC-to-DC converters (rectifiers) convert alternating current (AC) from the electrical power utility grid (110 V/230 V single-phase, 400 V/480 V three-phase) into regulated, direct current (DC) rails required by all electronic systems, DC motor drives, battery energy storage, and industrial DC buses.

1. Classification of AC-DC Rectification Systems

AC-DC Rectification Topologies │ ┌───────────────────────────────┼───────────────────────────────┐ │ │ │ Uncontrolled Rectifiers Controlled Rectifiers Active PFC Rectifiers (Passive Silicon Diodes) (Phase-Controlled Thyristors) (High-Frequency Active Switch) │ │ │ ┌───────┴───────┐ ┌───────┴───────┐ ┌───────┴───────┐ │ │ │ │ │ │ Single-Phase Three-Phase Single-Phase Three-Phase Single-Phase Three-Phase Bridge / CT 6-Pulse Bridge Semi / Full 6-Pulse Full Boost / Totem Vienna Rectifier (Pulsed Diode (Industrial (Variable DC (Regenerative (PF > 0.99, (3-Level PFC, Currents) DC Drives) Drives) Inversion) THD < 5%) Low Stress)

2. AC-DC Performance & Power Quality Comparison

| Rectifier Family | Controllability | Power Factor (PF) | Input Current THD | DC Voltage Regulation | Primary Applications |
| --- | --- | --- | --- | --- | --- |
| Uncontrolled Diode Bridges | Fixed (Unregulated) | 0.60 ... 0.75 (Lagging) | 60\% ... 120\% (Severe Peaks) | Load-dependent, significant ripple | Low-cost adapters, legacy linear power supplies, auxiliary supplies (< 75 W). |
| Controlled SCR Rectifiers | Regulated (0 <= α <= 180°) | 0.4 ... 0.9 (Degrades with α) | 30\% ... 50\% | Direct control via firing angle | Heavy DC motor speed control, electrochemical smelting, HVDC transmission links. |
| Active PFC Boost Rectifiers | Dynamic Closed-Loop | > 0.99 | < 3\% ... 5\% (IEC 61000-3-2 Compliant) | Regulated stiff DC bus (400 V) | Server PSUs, Telecom rectifiers, EV on-board chargers, medical equipment (> 75 W). |
| Vienna 3-Phase PFC Rectifier | Dynamic Closed-Loop | > 0.995 | < 2.5\% | Regulated ± 400 V (800 V DC bus) | EV DC Ultra-Fast Chargers (50 kW ... 350 kW), industrial drives. |

3. Power Quality Metrics Defined

Modern AC-DC converter engineering is governed by strict power quality standards (IEC 61000-3-2 and IEEE 519):

Total Harmonic Distortion of Current (THD_i):

THD_i = (sqrt(Sum(h=2 to inf) I_h^2)) / I_1 * 100\%

Displacement Power Factor (DPF):

DPF = cos φ_1 (Phase displacement between fundamental current and voltage)

True Power Factor (PF):

Superposition of distortion and displacement:

PF = P / S = I_1 / I_rms * cos φ_1 = 1 / (sqrt(1 + THD_i^2)) * DPF

4. Detailed Technical Dossiers in this Directory

Uncontrolled Diode Rectifiers: 1-Phase & 3-Phase Bridge Physics & Sizing (DOCX)

Covers: Single-phase half-wave, full-wave center-tapped, full-wave diode bridge, three-phase 6-pulse bridge, filter capacitor ripple equations, diode conduction angle, peak inverse voltage (PIV), inrush current limiting, and harmonic degradation.

Controlled SCR Rectifiers: Semi-Converters, Full-Converters & Quadrant Inversion (DOCX)

Covers: Single-phase and three-phase phase-controlled rectifiers, firing angle delay α, output DC voltage formulations, continuous vs. discontinuous conduction, Quadrant I (Rectification) vs. Quadrant IV (Line-Commutated Inversion for regenerative DC braking), and power factor implications.

Active Power Factor Correction (PFC) Rectifiers: CCM Boost, Totem-Pole & Vienna (DOCX)

Covers: Active Boost PFC pre-regulators, average current-mode control (inner current + outer voltage loop), Critical Conduction Mode (CrM), Bridgeless Totem-Pole GaN PFC (99\% efficiency), Three-Phase Three-Level Vienna Rectifier, and IEC 61000-3-2 Class D compliance.